NON-TECHNICAL SUMMARY

1.   Introduction

The compilation of the Draft Comprehensive Environmental Evaluation (draft CEE) has been organized  by  Chinese  Arctic  and  Antarctic  Administration  (CAA)  and  drafted  by  Polar Research Institute of China (PRIC) and Tongji University for the proposed construction and operation of a new Chinese research station in Victoria Land Region, Antarctica. The Draft CEE has been prepared in accordance with Annex I of the Protocol on Environmental Protection to the Antarctic Treaty (1998). It also referred to the Guidelines for Environmental Impact Assessment in Antarctica (Resolution 4, XXVIII ATCM, 2005). The Draft CEE describes the

following contents：

 	Construction, operation and maintenance of the new Chinese research station

 	Transportation process for cargos and personnel to the new Chinese research station

 	Analysis of potential environmental impact

 	Prevention and mitigation measures to minimize environmental impact

 	Gaps in knowledge and uncertainties

Considering the research programs including international collaboration, convenience of logistics, and its impact on the local environment, the location of new Chinese Antarctic Research Station (74°55′S / 163°42′E) on the Inexpressible Island which is a rocky island located in the coastal area of Terra Nova Bay in Northern Victoria Land along the Ross Sea was chosen through an evaluation process of three candidate locations as the Oates Coast region (Location 1), the Terra Nova Bay of Victoria Land (Location 2) and the Cape Berks of Marie Byrd Land (Location 3) in the Antarctic region. Four alternative sites have been investigated and compared on the Inexpressible Island.

As an independent station that will operate all the year round, the new Chinese station will develop an Antarctic observatory network with the Zhongshan Station and other international stations in  the  Terra  Nova  Bay  region. China believes that  understanding climate change impacts on Antarctica is a matter of critical importance for the world and for the continent itself. The main purpose of the new Chinese station is to provide an international platform for regional multidisciplinary research focusing on the chain reactions caused by the changing climate.

The main scientific programs based on the new station include the studies on atmospheric and atmosphere-ice-ocean interaction, glacial and ice shelf-ocean interaction, environment and ecosystem monitoring, space physics and geological environment evaluation etc.

 	To build an atmospheric observation platform and an ocean-ice-atmosphere observation system, in order to carry out a long-term monitoring of the atmospheric environment

(both physical and chemical), sea ice change and marine environment to provide basic information for the study of climate change.

 	The observation and research of ice shelf and physical oceanography in Ross Sea region not only give security for the scientific expedition in this area, but also improve our understanding the phenomena of the ice shelf and ocean in this area, and its role to regulate the local climate, sea ice distribution, water mass characteristics, and ecosystem. The observation and studies include sea level, glacier, ice-shelf and ice-shelf-ocean interaction.

 	Scientists from the United States, New Zealand, and Italy scientists have done a lot studies on the ecosystem in the Ross Sea. However, the polynya and its role in the ecosystem have not been sufficiently studied. We hope to cooperate with scientists from other station understand more about the ecosystem and biodiversity in Ross Sea region.

 	The location of the new station will be the Chinese first scientific base in the polar cap region where the magnetic field lines is open to the space. This station will be a very ideal platform for high latitude aurora and related phenomena. On the other hand, this station and Zhongshan, with 10 hours difference in Magnetic Local Time, is an ideal pair of stations to monitor the evolution of space phenomena in the polar region.

 	To promote the multinational and multidisciplinary research collaborations in Northern Victoria.  Currently,  the  United  States,  New  Zealand,  Italy  and  Germany  run  their research stations in the Ross Sea. Korea is constructing a new station, Jang Bogo, near the  Germany station. We  will  share  the  observing and  monitoring data  with  other stations. The scientists who are interested in the Antarctic researches are also welcome to utilize the research platform of the station.

2.   Description of Proposed Activities

The proposed site for the Chinese new station is located on a relative flat ground in the south of the Inexpressible Island (74°55′S, 163°42′E). Inexpressible Island is a rocky island located in Terra   Nova   Bay   with   the   latitude   of   74°51′00″-74°56′00″S   and   the   longitude   of

163°35′00″-163°45′20″E.

The  Terra  Nova  Bay  region  is  bordered  by  Cape  Washington  to  the  northeast  and Inexpressible Island to the southwest in the western Ross Sea of East Antarctica. The proposed site for the China’s new station is about 27 km far from the Mario Zucchelli Station, and the distances from it to Gondwana Station and Jang Bogo Station are about 35 and 36 km respectively.

The main activities conducted under the guidance of the CEE include: construction, operation, and dismantlement of the station, installation and use of temporary facilities during the construction, and transportation of supplies and personnel to the station. The construction is

planned to start in December 2015 and continues for two Antarctic summer seasons. The station will begin to operate in early 2017.

The station includes the central buildings, research facilities, and maintenance and operation facilities with a building area of 5528 m2. The station is planned to be used for no less than 25 years. It will accommodate up to 80 personnel in the summer and 30 personnel in the winter.

The design for the new station is based on a number of light-weight and modular buildings that can be combined together in a variety of ways. The modularity allows for changing user requirements, easier construction and maintenance through repetition, easier relocation, enhanced fire safety and acoustic performance through separation, and greater overall robustness.

The design incorporates energy efficiency measures by maximum use of natural lighting, the double outer walls, as well as five-time glazed windows, low energy products and phase change materials.

The stable aerodynamic structure of the central buildings will provide increased resistance against strong winds. Furthermore, the combination of the elevated and slanting structures helps to minimize the amount of snow pile-up around the buildings.

The use of hybrid Solar-Wind-Diesel power supply system will significantly minimize the consumption of fossil fuels and reduce CO2 emission. A comprehensive high-level sewage treatment and solid waste disposal system will be installed and operated in order to prevent wastes and wastewater from affecting the clean Antarctic environment. All wastes will be stored under  an  appropriate  management  plan  until  safely  treated  or  transported  outside  of  the Antarctic region. Furthermore, the wastewater will be reused as much as possible by using the gray water reclamation and reuse system.

3.   Alternatives to Proposed Activities

Several alternatives including no-action alternative, three alternative locations and four alternative sites on Inexpressible Island have been compared. The selection of the proposed site not only considered its compatibility in construction and operation, but also the research fields that China was planning to carry out. In order to minimize any impact of the station on the environment, while considering a variety of logistical, engineering, scientific, environmental

and safety reasons, China has decided that the best practical option is to build and operate a new research station at a safe location on the Inexpressible Island.

Three alternative layout and shape designs of the main buildings have been compared while considering the  construction ability,  operation  convenience, energy  saving  and  safety,  the station design principle combines centralization and decentralization. Modules with similar functions are centralized to form an energy-saving layout and provide better operation convenience. The layout of the station is designed to divide the noisy sections from the quiet

ones, provide convenient communication, reduce the impact of snow drift，keep main modules away from hazardous materials, and in the meantime ensure a convenient traffic route.

The  rotator  vertical  type  wind  turbine  has  been  selected  from  the  three  alternatives considering the match of the voltage level, demand power, installation conditions determined, space saving, convenience for construction, low maintenance and minimization of noise.

Marine plus land transportation is better than air plus land transportation considering the cost, logistics convenience, and on-time performance under uneven weather conditions.

In order to keep the clean Antarctica baseline environment, considering the quantity of the solid waste during the year-round operation and the difficulty for storage and transportation in Antarctica regions, magnetization pyrolysis furnace has been selected after the comparison of the three waste disposal approaches which will be applied in the new station.

4.   Initial Environmental Reference State of the Region

In  the  region where the  new  research station will  be  located, there  are  several typical

Antarctic species like Antarctic skuas and Adélie penguins. However, there are no colonies or habitats of any species close to the proposed site within 1.5 km.

According to the data from the automatic weather station Manuela (1988-2002), the wind speed at proposed region is extremely high and variable. Strong westerly (main direction is

265.3 degrees) wind can reach a maximum instantaneous speed of 43.5 m/s, the maximum daily average wind speed is 34.2 m/s, and there are more than 117 days with strong wind above 15

m/s in average. The annual average temperature and wind speed of the region are -18.5℃ and

12.0m/s, respectively. The extreme low temperature is -42.3℃ (September. 1st, 1992), while the highest temperature is 6.9℃.

The  elevation of  the  island  is  relative  higher  in  the  west  than  in  the  east.  There  is  a north-southward mountain ridge on the west side, while the ground and hilly land in the east. The center of the site area selected at 74 ° 55 ' S and 163 ° 42 'E, and covers an area of 2.2 square  kilometers.  The  regional  difference  of  elevation  is  within  15  meters.  The  height difference between ground and west ridge altitude is 110 meters.

There are three lakes near the proposed site, the southern part of the island. Lake 1 is about

546 m in perimeter, covering an area of about 21235 m2. Lake 2 is about 1127m in perimeter, covering an area of about 49540 m2. Lake 3 is about 408 m in perimeter, covering an area of about 11566 m2.

As to the investigation of 29th Chinese Antarctic Expedition, there is no moss and only a few lichens on some large rocks on the island. In the north of the Inexpressible Island, small quantities of rust-colored lichens are found on the shady side of more than 10 big stones. There are also dead and carbonized large lichens. Besides those, no deep red-brown lichen is found.

The discovered lichen is located more than 2 km to the proposed site in the north.

In the proposed site, animals found are mainly Adélie penguins, Antarctic skuas and Weddell seals. There are about 20000 penguins along the northern coast of the island, and chicks make up about 30% of the total population. According to GPS data and onsite estimation, the penguin community covers an area of 0.5 square kilometer. In the northernmost part of penguin colony, there is a small salt lake. There are eight seal bodies, some has been air-dried and some are bare bones. On southernmost tip of the island, the thawed snow and ice form a small lake, where about forty adult penguins and no chicks were found. The center of the penguin colony is located to the north of the proposed site, and the distance between them is more than 2.5 km. The discovered seal bodies are also located to the north of the proposed site, and it is more than

2.8 km between them.

5.   Identification and Prediction of Environmental Impact, Assessment and

Mitigation Measures of the Proposed Activities

A comprehensive environmental impact identification, prediction and assessment of the station’s full life cycle period including the construction, operation and decommission has been done based on the data and experiences acquired by the survey and provided by references.

In addition, the environmental impact on air, snow, ice, ocean, ecosystem, wilderness and aesthetic values in the period of the station construction and operation was estimated according to major factors including air pollutants, potential fuel and oil leakage, solid waste disposal, wastewater treatment and discharge, noise, man-made light, alien species introduction and ecosystem disturbance.

The main environmental impact of proposed activities includes:

 Atmospheric pollutants from fuel consumption

 Risks of fuel and oil spills from fuel transfer and refueling process as well as the leakage of fuel pipelines and tanks

 Discharge  of  hazardous  and  non-hazardous  wastes  such  as  construction  waste, domestic waste, waste oil, chemical and food waste

 Wastewater from the construction and operation of the station

 Noise from loading and unloading activities, equipment operations and other activities

 Disturbance  to  the  local  ecosystem  of  both  marine  and  land  bio-species  (e.g., penguins , skuas and lichens)

Prevention and mitigation measures have been identified in the impact matrices to avoid or minimize these predicted impacts.

Hybrid solar-wind-diesel power supply system will be used as a primary energy source to reduce the emissions of air pollutants. The use of fossil fuels will be minimized by increasing

renewable energy, maximizing the indoor usage of natural sunlight, and recycling the waste heat.

To prevent fuel spills, fuel tanks will be double-skinned and oil impermeable bund wall will be built around the fuel tank. For prevention and clean-up of spills, appropriate equipment will be prepared in the station in accordance with associated regulations such as the guidelines of COMNAP/SCALOP (2003), etc. Intelligent Monitoring System based on internet technology (including automatic control operations, security monitoring, safety warning, remote data transmission and so on) will be applied to the fuel storage area.

Wastes will be managed according to the Waste Management Manual. All wastes will be separated and securely stored until safely treated or transported outside of Antarctic region for disposal or recycling.

Wastewater will be treated using advanced treatment system. The treated water will be discharged up to the stringent level of wastewater standards e.g., BOD5  less than 4 mg/ℓ and CODMn  less than 6 mg/ℓ according to Chinese Environmental Quality Standards for Surface

Water (GB3838-2002) (Grade Ⅲ, normally for source water).

Noise will be kept at the level without disturbing the Antarctic skua or penguin colonies by appropriately uses of construction equipment.

Given that there is no area playing important role as habitats or colonies of a certain species close to the proposed site within 1.5 km, the station will not influence the surrounding ecosystem. An Antarctic Specially Protected Area will be suggested to protect the penguin colony and detail management plan will be prepared by China in the future. During the construction and operation period, visitors without clear scientific research or monitoring purposes will be prohibited to getting close to the penguin colony.

6.   Environmental Management and Environmental Impact Monitoring Plan

Before the construction, PRIC will formulate the Environmental Management Plan. The Environmental Management Plan will cover the management on the protection measures for penguins and skuas, refueling and fuels transportation, waste collection and disposal, sewage treatment and gray water recycling, equipment, field operation and the tackling of emergencies etc. It will guarantee the safety and orderly progress of various activities, and consequently prevent the occurrence of environmental accidents and minimize environmental impact.

PRIC will establish a station environmental monitoring plan to observe the actual impacts in Antarctica. The monitoring activities can be divided into two categories. One is to monitor the potential environmental impact, so as to discover as early as possible the disadvantageous impact and take actions immediately to reduce or eliminate such impact. Another is to monitor and record the relevant station operation information to verify the CEE and determine whether

the impact conform to those estimated.

7.   Gaps in Knowledge and Uncertainties

The gaps in knowledge and uncertainties identified in the draft CEE for the construction and operation of the new station are as follows:

 	Distribution of sea ice around the proposed site and climate conditions during construction period

 	Long-term climate change near the construction site

 	Uncertainties in the knowledge and information of natural environment near the proposed site

 	Status of a few Antarctic Skua nests distributed close to the proposed site

 	Items related to the future expansion of the station

 	Changes in activities of the station according to the change in future perspectives of research.

8.   Conclusion

In construction and operation of the new station, great importance has been attached to environmental protection and energy saving. As much as possible renewable energy and the updated environmental technologies will be applied in order to minimize the impact on the environment caused by construction and operation. Furthermore, as a research hub supporting not only the activities of Chinese scientists, but also partnerships with leading foreign experts on climate change in the Antarctic region, the new station is expected to enable and inspire international collaboration and multidisciplinary researches.

China concludes that the global scientific importance and value to be gained by the construction and operation of the new research station in Victoria Land, Antarctica and the continued operation of the research facility outweigh the more than minor and transitory impact the station will have on the Antarctic environment and fully justifies this activity proceeding.